NAPS CAPILLARY SEQUENCER HIGH THROUGHPUT PROTOCOL FOR PCR PRODUCT

Chemistry Dilution Mix*	3.0µl

Template			20 ng

Primer				5 pmol

Milli-Q water			q.s.

Total Volume			10 µl

*Chemistry Dilution Mix:

¼ rxn		1/8 rxn		1/16 rxn

BigDye 3.1	25µl		12.5µl		6.25µl

5X Dil Bffr^*	37.5µl		43.75µl	46.875µl

Milli-Q water	12.5µl		18.75µl	21.875µl

Call NAPS at 2-4570 when you put on the reactions to let them know you have some sequences coming for them.  Fill in online NAPS form under sequencing request.  Print it off and bring it to NAPS with your sequences.