Rieseberg Lab Single Column DNA Extraction Protocol

Modified by Kate Ostevik, September 17, 2009

- Harvest leaves and put ~50mg of fresh or frozen tissue or ~20mg of dry tissue into each tube

- Add 2 beads to each tube

- Start warming up the heating block to 65(C

- Prepare lysis buffer

  - 400(L	Buffer AP1

  - 5(L	RNase A (20mg/mL)

  - 1(L	Reagent DX (add only when grinding in buffer)

  - 20(L	20% PVP (optional)

  - 4(L 	DTT (optional)

- *Add 430(L lysis buffer to each tube if tissue is fresh

- Place tubes in rack and sandwich between TissueLyser adapter plates

- Grind samples for 1.5 min at 30Hz

- Reorient rack within the plate sandwiches such that inner most tubes are now the outermost

- Grind samples for 1.5 min at 30Hz

- *Add 430(L lysis buffer to each tube if tissue is dry or frozen and vortex

- Place tubes in the heating block for at least 20min

- Centrifuge tubes at 6000 rpm for 5 min

- Transfer supernatant to new tubes (discard the old tubes including beads)

- Add 170(L Buffer AP2

- Shake tubes vigorously up and down for 15 sec

- Spin tubes quickly to remove liquid from the caps

- Incubate tubes at -20(C for at least 20min

- Centrifuge tubes at 6000 rpm for 5 min

- Transfer supernatant to new tubes

- Add 900(L of Buffer AP3/E

- Shake tubes vigorously up and down for 15 sec

- Transfer 750 (L of sample including any precipitate which may have formed to DNeasy Mini Spin Columns

- Centrifuge tubes at 6000 rpm for 2 min and discard flow through

- Transfer the remaining sample to the columns

- Centrifuge tubes at 6000 rpm for 4 min and discard flow through

- Add 800(l of 70% ethanol to each column

- Centrifuge tubes at 6000 rpm for 2 min and discard flow through

- Add 800(l of 100% ethanol to each column

- Centrifuge tubes at 6000 rpm for 2 min and discard flow through

- Centrifuge tubes at 6000 rpm for and additional 10 min to dry the membrane

- Transfer columns to fresh collection tubes

- Add 100(L of TE directly to the column membrane without touching the membrane

- Incubate for 5 min at room temperature and centrifuge tubes at 6000 rpm for 2 min

- Add 100(L of TE directly to the column membrane without touching the membrane

- Incubate for 10 min at room temperature and centrifuge tubes at 6000 rpm for 2 min

- Discard columns and close collection tubes for storage