cDNA synth protocol for u-array – K.Turner 2/21/12 **** Half rxns!****

- Clean bench and pipettes w/ RNAse Away and warm-up thermocylcer.

- Dilute sample to 5 ul of 1000 ng/ul into strip tubes.

  - (1000 ng/ul * 5 ul)/[sample] = x ul samples (+ (5-x) ul H2O)

  - Round to nearest ul

- 5 ul of diluted RNA rxn + 1 ul of Superase + 0.5 ul oligo dT Primer (green cap, in Aurelie -20 freezer box). Flick tube.

- Heat to 70 C for 10 min in thermocycler (~5 min for warm up)

- Spin briefly and place in ice-water slurry for 5 min. Set thermocycler to 42 C

- Master mix #1                                Each		24.5X for 24 rxns	16 rxns

  - 5x 1st strand buffer	2 ul		49			32

  - 0.1 M DDT		1 ul		24.5			16

  - 10 mM dNTP mix	0.5 ul		12.25			8

  - TOTAL			3.5 ul		85.75			28

  - Mix MM#1 by flicking, briefly spin down. Add 3.5 ul to each 6.5 ul rxn for a total of 10 ul, flick and spin down.

- Set in thermocycler at 42 C for 2 min

- Add 1 ul SuperScript II to each rxn while in thermocycler , mix by pipetting (SSII in clamshell or freezer box in -20 C. Keep in enzyme freezer box). Incubate for 60 min.

- BREAK POINT (can freeze at this point). 40 min after step 8, come back to make MM#2. MM#2 includes RNAse, so don’t use RNA bench. MM#2 for 16 samples fills one eppie tube. Turn on thermocycler.

- Master mix #2                                Each		8.2x for 8 rxn 	16.5x for 16 rxns (fills 1 eppie)

  - RNAse free H2O	45.5 ul		373.1 		750.75

  - 5x 2nd strand buffer	15 ul		123		247.5

  - 10 mM dNTPs		1.5 ul		12.3		24.75

  - DNA ligase		0.5 ul		4.1		8.25

  - DNA Pol I		2 ul		16.4		33

  - RNAse H		0.5 ul		4.1		8.25

  - TOTAL			65 ul

  - Use filter tips and safe lock tubes for master mix, mix by flicking. Keep enzymes in freezer block. Add 65 ul to each 10 ul rxn in strip tube, on ice, for a total of 75 ul, flick.

- Incubate on thermocycler at 16 C for 2 hrs.

- Add 1 ul of T4 DNA Pol to each rxn while in block, mix by pipetting.

- Incubate at 16 C for 5 min

- On ice, add 5 ul 0.5 M EDTA (personal aliquot on bench from small clear square bottle, 2nd shelf on R in mortar bookcase)

- BREAK POINT. Can freeze at -20 C.

- Using non-RNA pipets, tips, and bench, add 1 ul RNAse A (kept on DNA bench) to each rxn. Incubate in thermocycler at 37 C for 10 min. Change gloves after use.

- Label new green Phaselock tubes (1 set) and eppies (2 sets, 1 set, final label).

- Spin Phaselock tubes on bench for 2 min at 12,000 g

- Thaw PCI tubes in fume hood (in freezer clambox or Aurelie PCI aliquots). Vortex and spin (in hood) for 1 min at max speed. Choose tubes w/ less ice, and pull out at least 2 tubes.

- In hood, add 81.5 ul to each of the 1st set of labeled eppies, avoiding top Tris layer of PCI (pull from bottom).

- Add rxn to labeled eppie containing 81.5 ul of PCI, and vortex all tubes thoroughly.

- Vortex tube again immediately before adding all contents to labeled Phaselock tube. Centrifuge for 5 min at 12,000 g (rpm).

- Take top layer and add to final eppie tube (~70 – 75 ul)

- Add 10% by vol ammonium acetate (big bottle in fridge, personal aliquot in freezer), i.e. 7 ul to a 70 ul sample. Mix by inverting, then spin on bench briefly.

- Add 3.5 ul glycogen (freezer clam box), mix by inverting, spin briefly.

- Add 2 vol of ice cold 100% EtOH (personal aliquot in freezer with parafilmed lid), i.e. 140 uL. Mix by inverting.

- Spin at 12,000 rpm for 20 min

- Discard supernatant – don’t disturb pellet!

- Add 250 ul of ice cold 80% EtOH (do not mix…) and spin at 12,000 rpm for 5 min.

- Repeat (2 total washes), then spin a final time to get last of EtOH.

- Dry open on bench top for 1 hr

- Rehydrate w/ 10 ul (for 100 ng/ul) and let sit at room temp for ~1 hr

- Nanodrop and Bioanalyze!