## Slide 1
Biol 351/52: -> Mehroke, Jarnail (jarnail.mehroke@botany.ubc.ca)

## Slide 2
Room 3012 & 3012/A/B (not to scale)
Light Rack
ELISA Reader GC Machines
Weigh Balances & pH meter
Fume hood
Add coat hooks along this wall
Put fridge here
Hydroponics
Flow hood # 1
Add Bench cabinet
To Place Hood on (50”X39”)
#1
#3
Flow hood # 2
Outside Corridor
Gas Cylinders
Add Projector Screen
RM# 3012A
RM# 3012B
RM# 3012
Add White Board
Add White Board
Computer
Computer
Computer
Computer
Glass cabinet
Glass cabinet
Glass cabinet

## Slide 3
Growth Chamber # 123
Sink
Rm. 3520
Add High shelves
Freezer # 4
Fridge D
Growth Chamber # 2
Sorval centrifuge
RC-2
Environmental Shaker
New Brunswick Sci.
Ice Machine
Ice Machine Plumbing
3
Add New 240V Plug

## Slide 4
Rm. 3511
Add Workbench Cabinets & electrical outlets.
Put Fridge/freezer #
#4
#4
and install wall shelves
Add White Board
Add Cork Board
Add eye wash and
Shower

## Slide 5
Legend
Existing counter/fixed table
Sink
Wall-mounted cabinet
Door
Rm. 3124(3012)
Mount a screen that can be pulled over the wall near door.
Install 3X3 white boards.
Coat hooks and closet for students
New desks and chairs
Check and fix Air conditioner
Install Glass ware cabinets. Qty;3 (3’X3’X1’) at end of main benches, as shown in the diagram.
Rm. 3520
Add 240V plug
Install High shelves
Rm. 3511
install eye wash and shower
Add Workbench Cabinets & electrical outlets.
and install wall shelves
Add White Board and cork boards (3’X3’ )
Prep room 3513 (Common)
Do we also have 3517? Then move the transfer hood there. Otherwise it would have to go on the counter of 3513 instead of the lower shelves (and put lower shelves around it)
We need a lab-rated dishwasher! The best place would be by the double sink by the fume hood.
Does Jarnail have large equipment to move here? (He did not mention anything when we looked at the room together). NO.
The distilled water apparatus is supposed to stay…. Otherwise we’ll need to take ours or otherwise have one installed.
Install this
Electrical outlets

## Slide 6
Ref: Biol. 351 &352 Move to Rm. 3124 (3012, 3520.3511& 3513)
All cupboards and shelves in Dr. Carl Douglas’s current lab will remain there, except the yellow tall cabinet in the centre of the lab. The water still might also be moved to their new lab.
In addition to the list of improvements already submitted, the following improvements are also needed:
  Coat hooks and closet for students in RM# 3012(3124) & 3511, Place : close to front door wall.
  White boards and cork boards in RM# 3012(3124) & 3511 Qty: 2ea, Size: 3’X3’
  Glassware storage cupboard in RM# 3012(3124) Qty:3, Size:3’X3’X1’, place: at end of 3 main benches (see diagram).
  Screen (1.8mX1.8m) + Projector in RM#3012(3124). Place: Close to front door.
  New Desks and chairs.
  Fresh coat of paint in RM # 3012(3124), 3520 And 3511
  Check Air-conditioner function,
  Check for water leaks
  Remove old temporary panels from ceiling.
  New flooring in equipment RM# 3520